## Slide 1: g-FET Fluidic Automation Development
01/30/2025
Michael Cato
Research Engineer
Georgia Tech Research Institute (GTRI)
Electro-Optical Systems Laboratory (EOSL)
michael.cato@gtri.gatech.edu | 404-407-7225
Student Interns
-Ian Boraks (GT)
-David Reynolds (GT)

## Slide 2: Front Panel Inputs and Outputs

## Slide 3: Fluidic Device Inputs and Outputs
# Label Direction
A Wash IN
B Vent IN
C gFet IN
D gFet OUT
E Pump IN
F Collection OUT
G Waste OUT
H Pump OUT
1-8 Reagents IN

## Slide 4: Loading the Pump

## Slide 5: Fluidic Diagram

## Slide 6: PRIME CHEM_WASH
PRIME CHEM_WASH 8 -T ## -R ##

## Slide 7: PRIME -C
PRIME -C 1 -T ## -R ##

## Slide 8: WASH COMMON
WASH COMMON 0 -T ## -R ##

## Slide 9: WASH COLLECT
WASH COLLECT 0 -T ## -R ##

## Slide 10: WASH -C
WASH -C 8 -T ## -R ##

## Slide 11: WASH CHEM_WASH
WASH CHEM_WASH 0 -T ## -R ##
Washes channel 8 to 1 sequentially.

## Slide 12: PURGE ALL
PURGE ALL 0 -T ## -R ##

## Slide 13: PURGE COMMON
PURGE COMMON 0 -T ## -R ##

## Slide 14: COLLECT
COLLECT -C 4 -T ## -R ##

## Slide 15: PUMP -C
PUMP -C 1 -T ## -R ##